## AAcode Compressor hspline
AACode, 1486 Apache Court, Camarillo, California 93010
Project Number |  | enter
Customer: |  | enter
Contact: |  | enter
Prepared: |  | enter
Current Date: |  | 2026-07-29 02:17
Program By |  | John Riddle
Copyright and License Notice
This Excel Program is the Copyrighted property of AACode
It can be used for any purpose except for Competitive Bidding
This Program is Supplied to Illustrate the Use of AAcode SuperTable®
No Warranty is offered for any purpose. Confirm all calculations by other means.
Operating Note
This Program requires the installation of AAcode SuperTable®
AAcode can be downloaded from http://www.aacode.com
This program Illustrates the use of the AAcode® function vspline©
The Mathematics behind vspline and other AAcode functions is explained at
http://www.aacode.com/mathematics.htm
Enter Vendor Data on Condensing Unit Family
Vendor | Condensing | Refrigerant
Name | Temperature F | Selected
Heatcraft - Larkin | 90 | HFC-404/507
Column # | Enter Vender Data on Condensing Unit Family
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Search | Condensing Unit | Compressor | Suction Temperature, Capacity Btu/hr *
# | Model | Model | 0 | -10 | -15 | -20 | -25 | -30 | -40
1 | LZ*030L6 | ZF09K4E | 16540 | 13730 | 12400 | 11130 | 9930 | 8840 | 6980
2 | LZ*035L6 | ZF11K4E | 19800 | 16490 | 14910 | 13420 | 12000 | 10710 | 8530
3 | LZ*045L6 | ZF13K4E | 25950 | 21230 | 19020 | 16940 | 14990 | 13170 | 10070
4 | LZ*055L6 | ZF15K4E | 31030 | 25640 | 23070 | 20650 | 18390 | 16280 | 12740
5 | LZ*060L6 | ZF18K4E | 36360 | 30140 | 27160 | 24330 | 21680 | 19240 | 15100
* | Note: Capacities shown above are vendor data. Data of this type may require derating due to 65 F return gas suction temperature.
* | Consult manufacturer's technical bulletins for derating information, if applicable. Enter derated data if desired.
Column # | Select Condensing Unit from Family
1 | 2 | 3 | 10 | 9 | 8 | 7 | 6 | 5 | 4
Enter | Condensing Unit | Compressor | Suction Temperature * Capacity Btu/hr
Selection | Model | Model | -40 | -30 | -25 | -20 | -15 | -10 | 0
4 | LZ*055L6 | ZF15K4E | 12740 | 16280 | 18390 | 20650 | 23070 | 25640 | 31030
* | Note reversal of data field. AACode functions require data to be in ascending order.
Enter Desired Temperature To Evaluate Capacity at Temperature Selected
Temperature | Capacity (hinterp) | Capacity (hspline) | AAcode Notes
F | Btu/Hr | Btu/Hr | Notes
-40 | #VALUE! | #VALUE! | Coincident Point in Data
-32.33 | #VALUE! | #VALUE! | Note Difference in Answer
-25 | #VALUE! | #VALUE! | Coincident Point in Data
-22 | #VALUE! | #VALUE! | Note Difference in Answer
-20 | #VALUE! | #VALUE! | Coincident Point in Data
-18.63 | #VALUE! | #VALUE! | Note Difference in Answer
0 | #VALUE! | #VALUE! | Coincident Point in Data
Program Demonstrates:
Reversal of a Table using the Excel function Hlookup.
Insertion of Data into a table using the Excel function Vlookup.
Linear interpolation of Data in a table using the AAcode SuperTable® function VInterp.
Spline curve fitting interpolation of Data in a table using the AAcode SuperTable® function HSpline.
Condensing Unit is from Larkin Refrigeration Products
Heatcraft Refrigeration Products Division
2175 West Park Place Blvd., Stone Mountain, Georgia 30087, USA
Telephone: 770-465-5600, Fax: 770-465-5990

## AACode Compressor polyfit
AACode, 1486 Apache Court, Camarillo, California 93010
Project Number |  | enter
Customer: |  | enter
Contact: |  | enter
Prepared: |  | enter
Current Date: |  | 2026-07-29 02:17
Program By |  | John Riddle
Copyright and License Notice
This Excel Program is the Copyrighted property of AACode
It can be used for any purpose except for Competitive Bidding
This Program is Supplied to Illustrate the Use of AAcode SuperTable®
No Warranty is offered for any purpose. Confirm all calculations by other means.
Operating Note
This Program requires the installation of AAcode SuperTable®
AAcode can be downloaded from http://www.aacode.com
This program Illustrates the use of the AAcode® function vspline©
The Mathematics behind hpolyfitcoef and other AAcode functions is explained at
http://www.aacode.com/mathematics.htm
Enter Vendor Data on Condensing Unit Family
Vendor | Condensing | Refrigerant
Name | Temperature F | Selected
Heatcraft - Larkin | 90 | HFC-404/507
Column # | Enter Vender Data on Condensing Unit Family
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Search | Condensing Unit | Compressor | Suction Temperature, Capacity Btu/hr *
# | Model | Model | 0 | -10 | -15 | -20 | -25 | -30 | -40
1 | LZ*030L6 | ZF09K4E | 16540 | 13730 | 12400 | 11130 | 9930 | 8840 | 6980
2 | LZ*035L6 | ZF11K4E | 19800 | 16490 | 14910 | 13420 | 12000 | 10710 | 8530
3 | LZ*045L6 | ZF13K4E | 25950 | 21230 | 19020 | 16940 | 14990 | 13170 | 10070
4 | LZ*055L6 | ZF15K4E | 31030 | 25640 | 23070 | 20650 | 18390 | 16280 | 12740
5 | LZ*060L6 | ZF18K4E | 36360 | 30140 | 27160 | 24330 | 21680 | 19240 | 15100
* | Note: Capacities shown above are vendor data. Data of this type may require derating due to 65 F return gas suction temperature.
* | Consult manufacturer's technical bulletins for derating information, if applicable. Enter derated data if desired.
Column # | Select Condensing Unit from Family
1 | 2 | 3 | 4 | 10 | 9 | 8 | 7 | 6 | 5 | 4
Enter | Condensing Unit | Compressor | Polynomial Order | Suction Temperature * Capacity Btu/hr
Selection | Model | Model | 7 | -40 | -30 | -25 | -20 | -15 | -10 | 0
4 | LZ*055L6 | ZF15K4E |  | 12740 | 16280 | 18390 | 20650 | 23070 | 25640 | 31030
Generated by AACode SuperTable® hpolyfitcoef Macro |  |  | R^2 | Ent x | -40 | x^ 0 | x^ 1 | x^ 2 | x^ 3 | x^ 4 | x^ 5 | x^ 6 | x^ 7 | End
Generated by AACode SuperTable® hpolyfitcoef Macro |  |  | 1 | Cal y | 16280 | 3.1086e-07 | -13746.2008 | -1942.5271 | -113.2349 | -2.4736 | 0.022096 | 0.0017223 | 1.9116e-05 | End
* | Note reversal of data field. AAcode functions require data to be in ascending order. The SuperTable® Macro hpolyfitcoef must be rerun for each new set of data selected. | bar: -40 to x^ 4
** | The field with a bold outline must be highlighted prior to running SuperTable® hpolyfit. The result will overwrite the current orange highlighted squares. | bar: -40 to x^ 4
*** | Copy the proposed AAcode SuperTable® equation given above and highlighted in yellow to Cell C55 "Capacity." | bar: -40 to x^ 4
Enter Desired Temperature To Evaluate Capacity at Temperature Selected
Factor | Value | Units | Notes
Temperature | -15 | F | Enter Value Desired
Capacity | 25640 | Btu/hr | Evaluated with Polynomial Equation
Program Demonstrates:
Reversal of a Table using the Excel function Hlookup.
Insertion of Data into a table using the Excel function Vlookup.
Operation of the AACode SuperTable® Macro HPolyFitCoef with the demonstration result set at a 7th order polynomial.
Condensing Unit is from Larkin Refrigeration Products
Heatcraft Refrigeration Products Division
2175 West Park Place Blvd., Stone Mountain, Georgia 30087, USA
Telephone: 770-465-5600, Fax: 770-465-5990