## AAcode RTD
AACode, 1486 Apache Court, Camarillo, California 93010
Project Number |  | enter
Customer: |  | enter
Contact: |  | enter
Prepared: |  | enter
Current Date: |  | 2026-07-28 14:27
Program By |  | John Riddle
Copyright and License Notice
This Excel Program is the Copyrighted property of AACode
It can be used for any purpose except for Competitive Bidding
This Program is Supplied to Illustrate the Use of AAcode SuperTable®
No Warranty is offered for any purpose. Confirm all calculations by other means.
Operating Note
This Program requires the installation of AAcode SuperTable®
AAcode can be downloaded from http://www.aacode.com
This program Illustrates the use of the AAcode® function vspline©
The Mathematics behind vspline and other AAcode functions is explained at
http://www.aacode.com/mathematics.htm
Enter Vendor Data on Sensor
C-V D Points | R .00385 Sensor
Degrees C | Ohms
0 | 100
100 | 138.5
260 | 197.6978
Callendar-Van Dusen Calculation 100 Ohm Platinum RTD
Factor | Data | Comment
T | 0 | Enter Degrees C to be Evaluated
Ro | 100 | Enter Sensor Ohms to be Evaluated
Alpha | 0.00385 | Alpha=(R(100)-R(0))/(100*R(0))
Delta | 1.4999 | Delta=R(0)*(1+Alpha*260)-R(260))/(4.16*R(0)*Alpha)
Beta | 0.10863 | Beta=0.10863 < 0 C, >0 C = 0
A | 0.0039077 | A=Alpha+Alpha*Delta/100
B | -5.7746e-07 | B=-Alpha*Delta/100^2
C<0 | -4.1823e-12 | C=-Alpha*Beta/100^4 for Temperatures Below 0 C
C>=0 | 0 | C=0 Above 0 C
Rt | 100 | Ohms | Rt=Ro*(1+A*T+B*T2-100*C*T3+C*T4
3-Point Calibration Data (Enter) |  | Theoretical | Error
Degrees C | Measured Ohms | Ohms | Ohms
-100 | 58 | 60.2614 | 2.2614
100 | 140 | 138.5 | -1.5
200 | 180 | 175.8451 | -4.1549
Enter * | Theoretical | Calculated Error | Meter Value
Degrees C | Ohms | Ohms (AAcode) | Ohms
-100 | 60.2614 | #VALUE! | #VALUE!
100 | 138.5 | #VALUE! | #VALUE!
200 | 175.8451 | #VALUE! | #VALUE!
* | Values entered must be within the range of the Temperatures (Degrees C) Calibrated
Enter Meter Value | Actual
Ohms | Degrees C (AAcode)
58 | #VALUE!
140 | #VALUE!
180 | #VALUE!
* | Values entered must be within the range of the Resistance (Ohms) Calibrated
Program Demonstrates:
Automatic generation of a table from a limited data entry set using AAcode SuperTable® functions
Precision correction of 3-Point calibration data using AAcode SuperTable® Vspine function

## AAcode Table
AACode, 1486 Apache Court, Camarillo, California 93010
Table Generated from AAcode RTD Sheet
Copyright and License Notice
This Excel Program is the Copyrighted property of AACode
It can be used for any purpose except for Competitive Bidding
This Program is Supplied to Illustrate the Use of AAcode SuperTable®
No Warranty is offered for any purpose. Confirm all calculations by other means.
Operating Note
This Program requires the installation of AAcode SuperTable®
AAcode can be downloaded from http://www.aacode.com
This program Illustrates the use of the AAcode® function vspline©
The Mathematics behind vspline and other AAcode functions is explained at
http://www.aacode.com/mathematics.htm
Enter Vendor Data on Sensor
| Degrees | R .00385 Sensor
| C | Ohms
| 0 | 100
| 100 | 138.5
| 260 | 197.6978
Callendar-Van Dusen Calculation 100 Ohm Platinum RTD, R 0.00385 Curve
| Factor | Data | Comment
| T | 0 | Degrees C
| Ro | 100 | Ohms
| Alpha | 0.00385 | Alpha=(R(100)-R(0))/(100*R(0))
| Delta | 1.4999 | Delta=R(0)*(1+Alpha*260)-R(260))/(4.16*R(0)*Alpha)
| Beta | 0.10863 | Beta=0.10863 < 0 C, >0 C = 0
| A | 0.0039077 | A=Alpha+Alpha*Delta/100
| B | -5.7746e-07 | B=-Alpha*Delta/100^2
| C<0 | -4.1823e-12 | C=-Alpha*Beta/100^4 for Temperatures Below 0 C
| C>=0 | 0 | C=0 Above 0 C
| Rt | 100 | Ohms | Rt=Ro*(1+A*T+B*T2-100*C*T3+C*T4
| 3-Point Calibration Data (Enter) |  | Theoretical | Error
| Degrees C | Measured Ohms | Ohms | Ohms
| -100 | 58 | 60.2614 | 2.2614
| 100 | 140 | 138.5 | -1.5
| 200 | 180 | 175.8451 | -4.1549
| Increment | 0.75
Table Generated from AAcode RTD Page Data
| Lookup Meter Value | Temperature | Theoretical | Calculated Error
| Ohms | Degrees C | Ohms | Ohms (AAcode)
1 | #VALUE! | -100 | 60.2614 | #VALUE!
2 | #VALUE! | -99.25 | 60.5653 | #VALUE!
3 | #VALUE! | -98.5 | 60.8691 | #VALUE!
4 | #VALUE! | -97.75 | 61.1728 | #VALUE!
5 | #VALUE! | -97 | 61.4763 | #VALUE!
6 | #VALUE! | -96.25 | 61.7798 | #VALUE!
7 | #VALUE! | -95.5 | 62.0832 | #VALUE!
8 | #VALUE! | -94.75 | 62.3864 | #VALUE!
9 | #VALUE! | -94 | 62.6896 | #VALUE!
10 | #VALUE! | -93.25 | 62.9926 | #VALUE!
11 | #VALUE! | -92.5 | 63.2955 | #VALUE!
12 | #VALUE! | -91.75 | 63.5984 | #VALUE!
13 | #VALUE! | -91 | 63.9011 | #VALUE!
14 | #VALUE! | -90.25 | 64.2038 | #VALUE!
15 | #VALUE! | -89.5 | 64.5063 | #VALUE!
16 | #VALUE! | -88.75 | 64.8087 | #VALUE!
17 | #VALUE! | -88 | 65.1111 | #VALUE!
18 | #VALUE! | -87.25 | 65.4133 | #VALUE!
19 | #VALUE! | -86.5 | 65.7154 | #VALUE!
20 | #VALUE! | -85.75 | 66.0175 | #VALUE!
21 | #VALUE! | -85 | 66.3194 | #VALUE!
22 | #VALUE! | -84.25 | 66.6213 | #VALUE!
23 | #VALUE! | -83.5 | 66.923 | #VALUE!
24 | #VALUE! | -82.75 | 67.2247 | #VALUE!
25 | #VALUE! | -82 | 67.5262 | #VALUE!
26 | #VALUE! | -81.25 | 67.8277 | #VALUE!
27 | #VALUE! | -80.5 | 68.1291 | #VALUE!
28 | #VALUE! | -79.75 | 68.4303 | #VALUE!
29 | #VALUE! | -79 | 68.7315 | #VALUE!
30 | #VALUE! | -78.25 | 69.0326 | #VALUE!
31 | #VALUE! | -77.5 | 69.3336 | #VALUE!
32 | #VALUE! | -76.75 | 69.6345 | #VALUE!
33 | #VALUE! | -76 | 69.9353 | #VALUE!
34 | #VALUE! | -75.25 | 70.236 | #VALUE!
35 | #VALUE! | -74.5 | 70.5366 | #VALUE!
36 | #VALUE! | -73.75 | 70.8371 | #VALUE!
37 | #VALUE! | -73 | 71.1376 | #VALUE!
38 | #VALUE! | -72.25 | 71.4379 | #VALUE!
39 | #VALUE! | -71.5 | 71.7382 | #VALUE!
40 | #VALUE! | -70.75 | 72.0384 | #VALUE!
41 | #VALUE! | -70 | 72.3384 | #VALUE!
42 | #VALUE! | -69.25 | 72.6384 | #VALUE!
43 | #VALUE! | -68.5 | 72.9383 | #VALUE!
44 | #VALUE! | -67.75 | 73.2381 | #VALUE!
45 | #VALUE! | -67 | 73.5379 | #VALUE!
46 | #VALUE! | -66.25 | 73.8375 | #VALUE!
47 | #VALUE! | -65.5 | 74.1371 | #VALUE!
48 | #VALUE! | -64.75 | 74.4365 | #VALUE!
49 | #VALUE! | -64 | 74.7359 | #VALUE!
50 | #VALUE! | -63.25 | 75.0352 | #VALUE!
51 | #VALUE! | -62.5 | 75.3344 | #VALUE!
52 | #VALUE! | -61.75 | 75.6335 | #VALUE!
53 | #VALUE! | -61 | 75.9326 | #VALUE!
54 | #VALUE! | -60.25 | 76.2315 | #VALUE!
55 | #VALUE! | -59.5 | 76.5304 | #VALUE!
56 | #VALUE! | -58.75 | 76.8292 | #VALUE!
57 | #VALUE! | -58 | 77.1279 | #VALUE!
58 | #VALUE! | -57.25 | 77.4265 | #VALUE!
59 | #VALUE! | -56.5 | 77.7251 | #VALUE!
60 | #VALUE! | -55.75 | 78.0235 | #VALUE!
61 | #VALUE! | -55 | 78.3219 | #VALUE!
62 | #VALUE! | -54.25 | 78.6202 | #VALUE!
63 | #VALUE! | -53.5 | 78.9184 | #VALUE!
64 | #VALUE! | -52.75 | 79.2166 | #VALUE!
65 | #VALUE! | -52 | 79.5146 | #VALUE!
66 | #VALUE! | -51.25 | 79.8126 | #VALUE!
67 | #VALUE! | -50.5 | 80.1105 | #VALUE!
68 | #VALUE! | -49.75 | 80.4083 | #VALUE!
69 | #VALUE! | -49 | 80.7061 | #VALUE!
70 | #VALUE! | -48.25 | 81.0037 | #VALUE!
71 | #VALUE! | -47.5 | 81.3013 | #VALUE!
72 | #VALUE! | -46.75 | 81.5988 | #VALUE!
73 | #VALUE! | -46 | 81.8962 | #VALUE!
74 | #VALUE! | -45.25 | 82.1936 | #VALUE!
75 | #VALUE! | -44.5 | 82.4909 | #VALUE!
76 | #VALUE! | -43.75 | 82.788 | #VALUE!
77 | #VALUE! | -43 | 83.0852 | #VALUE!
78 | #VALUE! | -42.25 | 83.3822 | #VALUE!
79 | #VALUE! | -41.5 | 83.6792 | #VALUE!
80 | #VALUE! | -40.75 | 83.9761 | #VALUE!
81 | #VALUE! | -40 | 84.2729 | #VALUE!
82 | #VALUE! | -39.25 | 84.5696 | #VALUE!
83 | #VALUE! | -38.5 | 84.8663 | #VALUE!
84 | #VALUE! | -37.75 | 85.1629 | #VALUE!
85 | #VALUE! | -37 | 85.4594 | #VALUE!
86 | #VALUE! | -36.25 | 85.7558 | #VALUE!
87 | #VALUE! | -35.5 | 86.0522 | #VALUE!
88 | #VALUE! | -34.75 | 86.3485 | #VALUE!
89 | #VALUE! | -34 | 86.6447 | #VALUE!
90 | #VALUE! | -33.25 | 86.9409 | #VALUE!
91 | #VALUE! | -32.5 | 87.2369 | #VALUE!
92 | #VALUE! | -31.75 | 87.5329 | #VALUE!
93 | #VALUE! | -31 | 87.8289 | #VALUE!
94 | #VALUE! | -30.25 | 88.1247 | #VALUE!
95 | #VALUE! | -29.5 | 88.4205 | #VALUE!
96 | #VALUE! | -28.75 | 88.7162 | #VALUE!
97 | #VALUE! | -28 | 89.0119 | #VALUE!
98 | #VALUE! | -27.25 | 89.3074 | #VALUE!
99 | #VALUE! | -26.5 | 89.6029 | #VALUE!
100 | #VALUE! | -25.75 | 89.8984 | #VALUE!
101 | #VALUE! | -25 | 90.1937 | #VALUE!
102 | #VALUE! | -24.25 | 90.489 | #VALUE!
103 | #VALUE! | -23.5 | 90.7842 | #VALUE!
104 | #VALUE! | -22.75 | 91.0794 | #VALUE!
105 | #VALUE! | -22 | 91.3745 | #VALUE!
106 | #VALUE! | -21.25 | 91.6695 | #VALUE!
107 | #VALUE! | -20.5 | 91.9644 | #VALUE!
108 | #VALUE! | -19.75 | 92.2593 | #VALUE!
109 | #VALUE! | -19 | 92.5541 | #VALUE!
110 | #VALUE! | -18.25 | 92.8488 | #VALUE!
111 | #VALUE! | -17.5 | 93.1435 | #VALUE!
112 | #VALUE! | -16.75 | 93.4381 | #VALUE!
113 | #VALUE! | -16 | 93.7326 | #VALUE!
114 | #VALUE! | -15.25 | 94.0271 | #VALUE!
115 | #VALUE! | -14.5 | 94.3215 | #VALUE!
116 | #VALUE! | -13.75 | 94.6158 | #VALUE!
117 | #VALUE! | -13 | 94.9101 | #VALUE!
118 | #VALUE! | -12.25 | 95.2043 | #VALUE!
119 | #VALUE! | -11.5 | 95.4984 | #VALUE!
120 | #VALUE! | -10.75 | 95.7924 | #VALUE!
121 | #VALUE! | -10 | 96.0864 | #VALUE!
122 | #VALUE! | -9.25 | 96.3804 | #VALUE!
123 | #VALUE! | -8.5 | 96.6742 | #VALUE!
124 | #VALUE! | -7.75 | 96.968 | #VALUE!
125 | #VALUE! | -7 | 97.2617 | #VALUE!
126 | #VALUE! | -6.25 | 97.5554 | #VALUE!
127 | #VALUE! | -5.5 | 97.849 | #VALUE!
128 | #VALUE! | -4.75 | 98.1425 | #VALUE!
129 | #VALUE! | -4 | 98.436 | #VALUE!
130 | #VALUE! | -3.25 | 98.7294 | #VALUE!
131 | #VALUE! | -2.5 | 99.0227 | #VALUE!
132 | #VALUE! | -1.75 | 99.316 | #VALUE!
133 | #VALUE! | -1 | 99.6092 | #VALUE!
134 | #VALUE! | -0.25 | 99.9023 | #VALUE!
135 | #VALUE! | 0.5 | 100.1954 | #VALUE!
136 | #VALUE! | 1.25 | 100.4884 | #VALUE!
137 | #VALUE! | 2 | 100.7813 | #VALUE!
138 | #VALUE! | 2.75 | 101.0742 | #VALUE!
139 | #VALUE! | 3.5 | 101.367 | #VALUE!
140 | #VALUE! | 4.25 | 101.6597 | #VALUE!
141 | #VALUE! | 5 | 101.9524 | #VALUE!
142 | #VALUE! | 5.75 | 102.245 | #VALUE!
143 | #VALUE! | 6.5 | 102.5376 | #VALUE!
144 | #VALUE! | 7.25 | 102.8301 | #VALUE!
145 | #VALUE! | 8 | 103.1225 | #VALUE!
146 | #VALUE! | 8.75 | 103.4149 | #VALUE!
147 | #VALUE! | 9.5 | 103.7071 | #VALUE!
148 | #VALUE! | 10.25 | 103.9994 | #VALUE!
149 | #VALUE! | 11 | 104.2915 | #VALUE!
150 | #VALUE! | 11.75 | 104.5836 | #VALUE!
151 | #VALUE! | 12.5 | 104.8757 | #VALUE!
152 | #VALUE! | 13.25 | 105.1676 | #VALUE!
153 | #VALUE! | 14 | 105.4595 | #VALUE!
154 | #VALUE! | 14.75 | 105.7514 | #VALUE!
155 | #VALUE! | 15.5 | 106.0431 | #VALUE!
156 | #VALUE! | 16.25 | 106.3348 | #VALUE!
157 | #VALUE! | 17 | 106.6265 | #VALUE!
158 | #VALUE! | 17.75 | 106.9181 | #VALUE!
159 | #VALUE! | 18.5 | 107.2096 | #VALUE!
160 | #VALUE! | 19.25 | 107.501 | #VALUE!
161 | #VALUE! | 20 | 107.7924 | #VALUE!
162 | #VALUE! | 20.75 | 108.0837 | #VALUE!
163 | #VALUE! | 21.5 | 108.375 | #VALUE!
164 | #VALUE! | 22.25 | 108.6661 | #VALUE!
165 | #VALUE! | 23 | 108.9573 | #VALUE!
166 | #VALUE! | 23.75 | 109.2483 | #VALUE!
167 | #VALUE! | 24.5 | 109.5393 | #VALUE!
168 | #VALUE! | 25.25 | 109.8302 | #VALUE!
169 | #VALUE! | 26 | 110.1211 | #VALUE!
170 | #VALUE! | 26.75 | 110.4119 | #VALUE!
171 | #VALUE! | 27.5 | 110.7026 | #VALUE!
172 | #VALUE! | 28.25 | 110.9933 | #VALUE!
173 | #VALUE! | 29 | 111.2839 | #VALUE!
174 | #VALUE! | 29.75 | 111.5744 | #VALUE!
175 | #VALUE! | 30.5 | 111.8649 | #VALUE!
176 | #VALUE! | 31.25 | 112.1553 | #VALUE!
177 | #VALUE! | 32 | 112.4457 | #VALUE!
178 | #VALUE! | 32.75 | 112.7359 | #VALUE!
179 | #VALUE! | 33.5 | 113.0261 | #VALUE!
180 | #VALUE! | 34.25 | 113.3163 | #VALUE!
181 | #VALUE! | 35 | 113.6064 | #VALUE!
182 | #VALUE! | 35.75 | 113.8964 | #VALUE!
183 | #VALUE! | 36.5 | 114.1863 | #VALUE!
184 | #VALUE! | 37.25 | 114.4762 | #VALUE!
185 | #VALUE! | 38 | 114.766 | #VALUE!
186 | #VALUE! | 38.75 | 115.0558 | #VALUE!
187 | #VALUE! | 39.5 | 115.3455 | #VALUE!
188 | #VALUE! | 40.25 | 115.6351 | #VALUE!
189 | #VALUE! | 41 | 115.9247 | #VALUE!
190 | #VALUE! | 41.75 | 116.2142 | #VALUE!
191 | #VALUE! | 42.5 | 116.5036 | #VALUE!
192 | #VALUE! | 43.25 | 116.793 | #VALUE!
193 | #VALUE! | 44 | 117.0823 | #VALUE!
194 | #VALUE! | 44.75 | 117.3715 | #VALUE!
195 | #VALUE! | 45.5 | 117.6607 | #VALUE!
196 | #VALUE! | 46.25 | 117.9498 | #VALUE!
197 | #VALUE! | 47 | 118.2388 | #VALUE!
198 | #VALUE! | 47.75 | 118.5278 | #VALUE!
199 | #VALUE! | 48.5 | 118.8167 | #VALUE!
200 | #VALUE! | 49.25 | 119.1056 | #VALUE!
201 | #VALUE! | 50 | 119.3944 | #VALUE!
202 | #VALUE! | 50.75 | 119.6831 | #VALUE!
203 | #VALUE! | 51.5 | 119.9717 | #VALUE!
204 | #VALUE! | 52.25 | 120.2603 | #VALUE!
205 | #VALUE! | 53 | 120.5488 | #VALUE!
206 | #VALUE! | 53.75 | 120.8373 | #VALUE!
207 | #VALUE! | 54.5 | 121.1257 | #VALUE!
208 | #VALUE! | 55.25 | 121.414 | #VALUE!
209 | #VALUE! | 56 | 121.7023 | #VALUE!
210 | #VALUE! | 56.75 | 121.9905 | #VALUE!
211 | #VALUE! | 57.5 | 122.2786 | #VALUE!
212 | #VALUE! | 58.25 | 122.5667 | #VALUE!
213 | #VALUE! | 59 | 122.8547 | #VALUE!
214 | #VALUE! | 59.75 | 123.1426 | #VALUE!
215 | #VALUE! | 60.5 | 123.4305 | #VALUE!
216 | #VALUE! | 61.25 | 123.7183 | #VALUE!
217 | #VALUE! | 62 | 124.006 | #VALUE!
218 | #VALUE! | 62.75 | 124.2937 | #VALUE!
219 | #VALUE! | 63.5 | 124.5813 | #VALUE!
220 | #VALUE! | 64.25 | 124.8689 | #VALUE!
221 | #VALUE! | 65 | 125.1564 | #VALUE!
222 | #VALUE! | 65.75 | 125.4438 | #VALUE!
223 | #VALUE! | 66.5 | 125.7311 | #VALUE!
224 | #VALUE! | 67.25 | 126.0184 | #VALUE!
225 | #VALUE! | 68 | 126.3057 | #VALUE!
226 | #VALUE! | 68.75 | 126.5928 | #VALUE!
227 | #VALUE! | 69.5 | 126.8799 | #VALUE!
228 | #VALUE! | 70.25 | 127.1669 | #VALUE!
229 | #VALUE! | 71 | 127.4539 | #VALUE!
230 | #VALUE! | 71.75 | 127.7408 | #VALUE!
231 | #VALUE! | 72.5 | 128.0276 | #VALUE!
232 | #VALUE! | 73.25 | 128.3144 | #VALUE!
233 | #VALUE! | 74 | 128.6011 | #VALUE!
234 | #VALUE! | 74.75 | 128.8877 | #VALUE!
235 | #VALUE! | 75.5 | 129.1743 | #VALUE!
236 | #VALUE! | 76.25 | 129.4608 | #VALUE!
237 | #VALUE! | 77 | 129.7473 | #VALUE!
238 | #VALUE! | 77.75 | 130.0336 | #VALUE!
239 | #VALUE! | 78.5 | 130.32 | #VALUE!
240 | #VALUE! | 79.25 | 130.6062 | #VALUE!
241 | #VALUE! | 80 | 130.8924 | #VALUE!
242 | #VALUE! | 80.75 | 131.1785 | #VALUE!
243 | #VALUE! | 81.5 | 131.4646 | #VALUE!
244 | #VALUE! | 82.25 | 131.7506 | #VALUE!
245 | #VALUE! | 83 | 132.0365 | #VALUE!
246 | #VALUE! | 83.75 | 132.3223 | #VALUE!
247 | #VALUE! | 84.5 | 132.6081 | #VALUE!
248 | #VALUE! | 85.25 | 132.8939 | #VALUE!
249 | #VALUE! | 86 | 133.1795 | #VALUE!
250 | #VALUE! | 86.75 | 133.4651 | #VALUE!
251 | #VALUE! | 87.5 | 133.7507 | #VALUE!
252 | #VALUE! | 88.25 | 134.0361 | #VALUE!
253 | #VALUE! | 89 | 134.3215 | #VALUE!
254 | #VALUE! | 89.75 | 134.6069 | #VALUE!
255 | #VALUE! | 90.5 | 134.8921 | #VALUE!
256 | #VALUE! | 91.25 | 135.1774 | #VALUE!
257 | #VALUE! | 92 | 135.4625 | #VALUE!
258 | #VALUE! | 92.75 | 135.7476 | #VALUE!
259 | #VALUE! | 93.5 | 136.0326 | #VALUE!
260 | #VALUE! | 94.25 | 136.3175 | #VALUE!
261 | #VALUE! | 95 | 136.6024 | #VALUE!
262 | #VALUE! | 95.75 | 136.8872 | #VALUE!
263 | #VALUE! | 96.5 | 137.172 | #VALUE!
264 | #VALUE! | 97.25 | 137.4567 | #VALUE!
265 | #VALUE! | 98 | 137.7413 | #VALUE!
266 | #VALUE! | 98.75 | 138.0259 | #VALUE!
267 | #VALUE! | 99.5 | 138.3104 | #VALUE!
268 | #VALUE! | 100.25 | 138.5948 | #VALUE!
269 | #VALUE! | 101 | 138.8792 | #VALUE!
270 | #VALUE! | 101.75 | 139.1635 | #VALUE!
271 | #VALUE! | 102.5 | 139.4477 | #VALUE!
272 | #VALUE! | 103.25 | 139.7319 | #VALUE!
273 | #VALUE! | 104 | 140.016 | #VALUE!
274 | #VALUE! | 104.75 | 140.3 | #VALUE!
275 | #VALUE! | 105.5 | 140.584 | #VALUE!
276 | #VALUE! | 106.25 | 140.8679 | #VALUE!
277 | #VALUE! | 107 | 141.1517 | #VALUE!
278 | #VALUE! | 107.75 | 141.4355 | #VALUE!
279 | #VALUE! | 108.5 | 141.7192 | #VALUE!
280 | #VALUE! | 109.25 | 142.0029 | #VALUE!
281 | #VALUE! | 110 | 142.2865 | #VALUE!
282 | #VALUE! | 110.75 | 142.57 | #VALUE!
283 | #VALUE! | 111.5 | 142.8535 | #VALUE!
284 | #VALUE! | 112.25 | 143.1368 | #VALUE!
285 | #VALUE! | 113 | 143.4202 | #VALUE!
286 | #VALUE! | 113.75 | 143.7034 | #VALUE!
287 | #VALUE! | 114.5 | 143.9866 | #VALUE!
288 | #VALUE! | 115.25 | 144.2698 | #VALUE!
289 | #VALUE! | 116 | 144.5528 | #VALUE!
290 | #VALUE! | 116.75 | 144.8358 | #VALUE!
291 | #VALUE! | 117.5 | 145.1188 | #VALUE!
292 | #VALUE! | 118.25 | 145.4016 | #VALUE!
293 | #VALUE! | 119 | 145.6844 | #VALUE!
294 | #VALUE! | 119.75 | 145.9672 | #VALUE!
295 | #VALUE! | 120.5 | 146.2499 | #VALUE!
296 | #VALUE! | 121.25 | 146.5325 | #VALUE!
297 | #VALUE! | 122 | 146.815 | #VALUE!
298 | #VALUE! | 122.75 | 147.0975 | #VALUE!
299 | #VALUE! | 123.5 | 147.3799 | #VALUE!
300 | #VALUE! | 124.25 | 147.6623 | #VALUE!
301 | #VALUE! | 125 | 147.9445 | #VALUE!
302 | #VALUE! | 125.75 | 148.2268 | #VALUE!
303 | #VALUE! | 126.5 | 148.5089 | #VALUE!
304 | #VALUE! | 127.25 | 148.791 | #VALUE!
305 | #VALUE! | 128 | 149.073 | #VALUE!
306 | #VALUE! | 128.75 | 149.355 | #VALUE!
307 | #VALUE! | 129.5 | 149.6369 | #VALUE!
308 | #VALUE! | 130.25 | 149.9187 | #VALUE!
309 | #VALUE! | 131 | 150.2005 | #VALUE!
310 | #VALUE! | 131.75 | 150.4822 | #VALUE!
311 | #VALUE! | 132.5 | 150.7638 | #VALUE!
312 | #VALUE! | 133.25 | 151.0454 | #VALUE!
313 | #VALUE! | 134 | 151.3269 | #VALUE!
314 | #VALUE! | 134.75 | 151.6084 | #VALUE!
315 | #VALUE! | 135.5 | 151.8897 | #VALUE!
316 | #VALUE! | 136.25 | 152.171 | #VALUE!
317 | #VALUE! | 137 | 152.4523 | #VALUE!
318 | #VALUE! | 137.75 | 152.7335 | #VALUE!
319 | #VALUE! | 138.5 | 153.0146 | #VALUE!
320 | #VALUE! | 139.25 | 153.2956 | #VALUE!
321 | #VALUE! | 140 | 153.5766 | #VALUE!
322 | #VALUE! | 140.75 | 153.8575 | #VALUE!
323 | #VALUE! | 141.5 | 154.1384 | #VALUE!
324 | #VALUE! | 142.25 | 154.4192 | #VALUE!
325 | #VALUE! | 143 | 154.6999 | #VALUE!
326 | #VALUE! | 143.75 | 154.9806 | #VALUE!
327 | #VALUE! | 144.5 | 155.2612 | #VALUE!
328 | #VALUE! | 145.25 | 155.5417 | #VALUE!
329 | #VALUE! | 146 | 155.8222 | #VALUE!
330 | #VALUE! | 146.75 | 156.1026 | #VALUE!
331 | #VALUE! | 147.5 | 156.3829 | #VALUE!
332 | #VALUE! | 148.25 | 156.6632 | #VALUE!
333 | #VALUE! | 149 | 156.9434 | #VALUE!
334 | #VALUE! | 149.75 | 157.2235 | #VALUE!
335 | #VALUE! | 150.5 | 157.5036 | #VALUE!
336 | #VALUE! | 151.25 | 157.7836 | #VALUE!
337 | #VALUE! | 152 | 158.0636 | #VALUE!
338 | #VALUE! | 152.75 | 158.3435 | #VALUE!
339 | #VALUE! | 153.5 | 158.6233 | #VALUE!
340 | #VALUE! | 154.25 | 158.903 | #VALUE!
341 | #VALUE! | 155 | 159.1827 | #VALUE!
342 | #VALUE! | 155.75 | 159.4623 | #VALUE!
343 | #VALUE! | 156.5 | 159.7419 | #VALUE!
344 | #VALUE! | 157.25 | 160.0214 | #VALUE!
345 | #VALUE! | 158 | 160.3008 | #VALUE!
346 | #VALUE! | 158.75 | 160.5802 | #VALUE!
347 | #VALUE! | 159.5 | 160.8595 | #VALUE!
348 | #VALUE! | 160.25 | 161.1387 | #VALUE!
349 | #VALUE! | 161 | 161.4179 | #VALUE!
350 | #VALUE! | 161.75 | 161.697 | #VALUE!
351 | #VALUE! | 162.5 | 161.976 | #VALUE!
352 | #VALUE! | 163.25 | 162.255 | #VALUE!
353 | #VALUE! | 164 | 162.5339 | #VALUE!
354 | #VALUE! | 164.75 | 162.8127 | #VALUE!
355 | #VALUE! | 165.5 | 163.0915 | #VALUE!
356 | #VALUE! | 166.25 | 163.3702 | #VALUE!
357 | #VALUE! | 167 | 163.6489 | #VALUE!
358 | #VALUE! | 167.75 | 163.9275 | #VALUE!
359 | #VALUE! | 168.5 | 164.206 | #VALUE!
360 | #VALUE! | 169.25 | 164.4844 | #VALUE!
361 | #VALUE! | 170 | 164.7628 | #VALUE!
362 | #VALUE! | 170.75 | 165.0411 | #VALUE!
363 | #VALUE! | 171.5 | 165.3194 | #VALUE!
364 | #VALUE! | 172.25 | 165.5976 | #VALUE!
365 | #VALUE! | 173 | 165.8757 | #VALUE!
366 | #VALUE! | 173.75 | 166.1538 | #VALUE!
367 | #VALUE! | 174.5 | 166.4318 | #VALUE!
368 | #VALUE! | 175.25 | 166.7097 | #VALUE!
369 | #VALUE! | 176 | 166.9876 | #VALUE!
370 | #VALUE! | 176.75 | 167.2654 | #VALUE!
371 | #VALUE! | 177.5 | 167.5431 | #VALUE!
372 | #VALUE! | 178.25 | 167.8208 | #VALUE!
373 | #VALUE! | 179 | 168.0984 | #VALUE!
374 | #VALUE! | 179.75 | 168.376 | #VALUE!
375 | #VALUE! | 180.5 | 168.6534 | #VALUE!
376 | #VALUE! | 181.25 | 168.9308 | #VALUE!
377 | #VALUE! | 182 | 169.2082 | #VALUE!
378 | #VALUE! | 182.75 | 169.4855 | #VALUE!
379 | #VALUE! | 183.5 | 169.7627 | #VALUE!
380 | #VALUE! | 184.25 | 170.0399 | #VALUE!
381 | #VALUE! | 185 | 170.3169 | #VALUE!
382 | #VALUE! | 185.75 | 170.594 | #VALUE!
383 | #VALUE! | 186.5 | 170.8709 | #VALUE!
384 | #VALUE! | 187.25 | 171.1478 | #VALUE!
385 | #VALUE! | 188 | 171.4246 | #VALUE!
386 | #VALUE! | 188.75 | 171.7014 | #VALUE!
387 | #VALUE! | 189.5 | 171.9781 | #VALUE!
388 | #VALUE! | 190.25 | 172.2547 | #VALUE!
389 | #VALUE! | 191 | 172.5313 | #VALUE!
390 | #VALUE! | 191.75 | 172.8078 | #VALUE!
391 | #VALUE! | 192.5 | 173.0843 | #VALUE!
392 | #VALUE! | 193.25 | 173.3606 | #VALUE!
393 | #VALUE! | 194 | 173.6369 | #VALUE!
394 | #VALUE! | 194.75 | 173.9132 | #VALUE!
395 | #VALUE! | 195.5 | 174.1894 | #VALUE!
396 | #VALUE! | 196.25 | 174.4655 | #VALUE!
397 | #VALUE! | 197 | 174.7415 | #VALUE!
398 | #VALUE! | 197.75 | 175.0175 | #VALUE!
399 | #VALUE! | 198.5 | 175.2934 | #VALUE!
400 | #VALUE! | 199.25 | 175.5693 | #VALUE!
401 | #VALUE! | 200 | 175.8451 | #VALUE!